## electric data
Name | SARA JONES
Address | 1654 PAMELA DR, SANTA ROSA CA 95404-3139
Account Number | 4825997950
Service | 4825997721
TYPE | START DATE | END DATE | USAGE | UNITS | COST | NOTES |  | kWh/day | kWh/day w/ long range EV | $/kWh
Electric billing | 2015-12-03 | 2016-01-03 | 766.49 | kWh | 99.29 |  | 2016-01-03 | 25.1997 |  | 0.12954
Electric billing | 2016-01-04 | 2016-02-01 | 567.81 | kWh | 78.92 |  | 2016-02-01 | 18.6677 |  | 0.13899
Electric billing | 2016-02-02 | 2016-03-02 | 500.4 | kWh | 64.47 |  | 2016-03-02 | 16.4515 |  | 0.12884
Electric billing | 2016-03-03 | 2016-03-31 | 367 | kWh | 44.69 |  | 2016-03-31 | 12.0658 |  | 0.12177
Electric billing | 2016-04-01 | 2016-05-02 | 328.12 | kWh | 35.62 |  | 2016-05-02 | 10.7875 |  | 0.10856
Electric billing | 2016-05-03 | 2016-06-01 | 267.97 | kWh | 29.09 |  | 2016-06-01 | 8.81 |  | 0.10856
Electric billing | 2016-06-02 | 2016-06-30 | 253.92 | kWh | 27.55 |  | 2016-06-30 | 8.3481 |  | 0.1085
Electric billing | 2016-07-01 | 2016-08-01 | 214.46 | kWh | 23.29 |  | 2016-08-01 | 7.0507 |  | 0.1086
Electric billing | 2016-08-02 | 2016-08-31 | 153.76 | kWh | 16.67 |  | 2016-08-31 | 5.0551 |  | 0.10842
Electric billing | 2016-09-01 | 2016-10-02 | 271.91 | kWh | 29.73 |  | 2016-10-02 | 8.9395 |  | 0.10934
Electric billing | 2016-10-03 | 2016-10-31 | 406.1 | kWh | 51.34 |  | 2016-10-31 | 13.3512 |  | 0.12642
Electric billing | 2016-11-01 | 2016-12-01 | 470.92 | kWh | 59.64 |  | 2016-12-01 | 15.4823 |  | 0.12665
Electric billing | 2016-12-02 | 2017-01-02 | 666.9 | kWh | 92.37 |  | 2017-01-02 | 21.9255 |  | 0.13851
Electric billing | 2017-01-03 | 2017-01-31 | 586.21 | kWh | 82.69 |  | 2017-01-31 | 19.2727 |  | 0.14106
Electric billing | 2017-02-01 | 2017-03-02 | 484.83 | kWh | 65.08 |  | 2017-03-02 | 15.9396 |  | 0.13423
Electric billing | 2017-03-03 | 2017-04-02 | 391.35 | kWh | 55.31 |  | 2017-04-02 | 12.8663 |  | 0.14133
Electric billing | 2017-04-03 | 2017-05-02 | 371.87 | kWh | 53.66 |  | 2017-05-02 | 12.2259 |  | 0.1443
Electric billing | 2017-05-03 | 2017-06-01 | 74.42 | kWh | 9.74 |  | 2017-06-01 | 2.4467 |  | 0.13088
Electric billing | 2017-06-02 | 2017-07-02 | 132.76 | kWh | 17.37 |  | 2017-07-02 | 4.3647 |  | 0.13084
Electric billing | 2017-07-03 | 2017-08-01 | 325.88 | kWh | 44.41 |  | 2017-08-01 | 10.7139 |  | 0.13628
Electric billing | 2017-08-02 | 2017-08-31 | 229.84 | kWh | 30.09 |  | 2017-08-31 | 7.5564 |  | 0.13092
Electric billing | 2017-09-01 | 2017-10-02 | 417.35 | kWh | 61.81 |  | 2017-10-02 | 13.7211 |  | 0.1481
Electric billing | 2017-10-03 | 2017-10-31 | 500.35 | kWh | 81.33 |  | 2017-10-31 | 16.4499 |  | 0.16255
Electric billing | 2017-11-01 | 2017-11-30 | 760.23 | kWh | 132.57 |  | 2017-11-30 | 24.9939 |  | 0.17438
Electric billing | 2017-12-01 | 2018-01-01 | 851.8 | kWh | 149.92 |  | 2018-01-01 | 28.0044 | 28.0044 | 0.176 | [5 empty] | avg
Electric billing | 2018-01-02 | 2018-01-30 | 807.02 | kWh | 144.09 |  | 2018-01-30 | 26.5322 | 26.5322 | 0.17855 | Jan | 807.02 | 627.46 | 541.56 |  | 658.68
Electric billing | 2018-01-31 | 2018-03-01 | 617.58 | kWh | 103.78 |  | 2018-03-01 | 20.304 | 20.304 | 0.16804 | Feb | 617.58 | 561.67 | 303.36 |  | 494.2033
Electric billing | 2018-03-02 | 2018-04-01 | 678.44 | kWh | 116.48 |  | 2018-04-01 | 22.3049 | 22.3049 | 0.17169 | Mar | 678.44 | 469.67 | 397.01 |  | 515.04
Electric billing | 2018-04-02 | 2018-05-01 | 561.86 | kWh | 93.31 |  | 2018-05-01 | 18.4721 | 18.4721 | 0.16607 | Apr | 561.86 | 396.58 | 447.76 |  | 468.7333
Electric billing | 2018-05-02 | 2018-05-31 | 560.85 | kWh | 94.67 |  | 2018-05-31 | 18.4389 | 18.4389 | 0.1688 | May | 560.85 | 395.01 | 427.62 |  | 461.16
Electric billing | 2018-06-01 | 2018-07-01 | 497.64 | kWh | 80.98 |  | 2018-07-01 | 16.3608 | 16.3608 | 0.16273 | Jun | 497.64 | 389.8 | 406.29 |  | 431.2433
Electric billing | 2018-07-02 | 2018-07-31 | 478.57 | kWh | 89.16 |  | 2018-07-31 | 15.7338 | 15.7338 | 0.18631 | Jul | 478.57 | 334.64 | 321.26 | 412.52 | 386.7475
Electric billing | 2018-08-01 | 2018-08-30 | 311.81 | kWh | 48.94 |  | 2018-08-30 | 10.2513 | 10.2513 | 0.15695 | Aug | 311.81 | 419.41 | 594.9 | 432.75 | 439.7175
Electric billing | 2018-08-31 | 2018-10-01 | 458.47 | kWh | 83.91 |  | 2018-10-01 | 15.073 | 15.073 | 0.18302 | Sep | 458.47 | 346.53 | 536.25 | 704.09 | 511.335
Electric billing | 2018-10-02 | 2018-10-31 | 457.89 | kWh | 71.76 |  | 2018-10-31 | 15.0539 | 15.0539 | 0.15672 | Oct | 457.89 | 329.92 |  | 465.65 | 417.82
Electric billing | 2018-11-01 | 2018-12-02 | 678.09 | kWh | 117.76 |  | 2018-12-02 | 22.2934 | 22.2934 | 0.17366 | Nov | 678.09 | 535.45 |  | 722.47 | 645.3367
Electric billing | 2018-12-03 | 2019-01-02 | 723.17 | kWh | 128.16 |  | 2019-01-02 | 23.7755 | 23.7755 | 0.17722 | Dec | 723.17 | 538.58 |  |  | 630.875
Electric billing | 2019-01-03 | 2019-01-31 | 627.46 | kWh | 106.16 |  | 2019-01-31 | 20.6288 | 20.6288 | 0.16919
Electric billing | 2019-02-01 | 2019-03-04 | 561.67 | kWh | 89.59 |  | 2019-03-04 | 18.4659 | 18.4659 | 0.15951
Electric billing | 2019-03-05 | 2019-04-02 | 469.67 | kWh | 72.93 |  | 2019-04-02 | 15.4412 | 15.4412 | 0.15528
Electric billing | 2019-04-03 | 2019-05-02 | 396.58 | kWh | 58.03 |  | 2019-05-02 | 13.0382 | 13.0382 | 0.14633
Electric billing | 2019-05-03 | 2019-06-03 | 395.01 | kWh | 57.75 |  | 2019-06-03 | 12.9866 | 12.9866 | 0.1462
Electric billing | 2019-06-04 | 2019-07-02 | 389.8 | kWh | 71.4 |  | 2019-07-02 | 12.8153 | 12.8153 | 0.18317
Electric billing | 2019-07-03 | 2019-08-01 | 334.64 | kWh | 53.35 |  | 2019-08-01 | 11.0019 | 11.0019 | 0.15943
Electric billing | 2019-08-02 | 2019-09-03 | 419.41 | kWh | 70.73 |  | 2019-09-03 | 13.7888 | 13.7888 | 0.16864
Electric billing | 2019-09-04 | 2019-10-02 | 346.53 | kWh | 57.7 |  | 2019-10-02 | 11.3928 | 11.3928 | 0.16651
Electric billing | 2019-10-03 | 2019-10-31 | 329.92 | kWh | 43.69 |  | 2019-10-31 | 10.8467 | 10.8467 | 0.13243
Electric billing | 2019-11-01 | 2019-12-03 | 535.45 | kWh | 83.21 |  | 2019-12-03 | 17.6038 | 17.6038 | 0.1554
Electric billing | 2019-12-04 | 2020-01-02 | 538.58 | kWh | 86.79 |  | 2020-01-02 | 17.7067 | 17.7067 | 0.16115
Electric billing | 2020-01-03 | 2020-02-02 | 541.56 | kWh | 89.92 |  | 2020-02-02 | 17.8047 | 17.8047 | 0.16604
Electric billing | 2020-02-03 | 2020-03-03 | 303.36 | kWh | 40.38 |  | 2020-03-03 | 9.9735 | 9.9735 | 0.13311
Electric billing | 2020-03-04 | 2020-04-01 | 397.01 | kWh | 58.28 |  | 2020-04-01 | 13.0524 | 13.0524 | 0.1468
Electric billing | 2020-04-02 | 2020-05-03 | 447.76 | kWh | 67.16 |  | 2020-05-03 | 14.7209 | 14.7209 | 0.14999
Electric billing | 2020-05-04 | 2020-06-02 | 427.62 | kWh | 72.36 |  | 2020-06-02 | 14.0587 | 14.0587 | 0.16922
Electric billing | 2020-06-03 | 2020-07-01 | 406.29 | kWh | 85.2 |  | 2020-07-01 | 13.3575 | 13.3575 | 0.2097
Electric billing | 2020-07-02 | 2020-07-30 | 321.26 | kWh | 61.97 |  | 2020-07-30 | 10.562 | 10.562 | 0.1929
Electric billing | 2020-07-31 | 2020-08-31 | 594.9 | kWh | 133.69 |  | 2020-08-31 | 19.5584 | 19.5584 | 0.22473
Electric billing | 2020-09-01 | 2020-09-30 | 536.25 | kWh | 119.43 |  | 2020-09-30 | 17.6301 | 17.6301 | 0.22271
Electric billing | 2020-10-01 | 2020-11-01 | 394.07 | kWh | 61.9 |  | 2020-11-01 | 12.9557 |  | 0.15708
Electric billing | 2020-11-02 | 2020-12-02 | 472.69 | kWh | 81.08 |  | 2020-12-02 | 15.5405 |  | 0.17153
Electric billing | 2020-12-03 | 2021-01-03 | 673.13 | kWh | 127.41 |  | 2021-01-03 | 22.1303 |  | 0.18928
Electric billing | 2021-01-04 | 2021-02-01 | 375.51 | kWh | 67.14 |  | 2021-02-01 | 12.3455 |  | 0.1788
Electric billing | 2021-02-02 | 2021-03-03 | 368.47 | kWh | 65.96 |  | 2021-03-03 | 12.1141 |  | 0.17901
Electric billing | 2021-03-04 | 2021-04-01 | 399.57 | kWh | 77.41 |  | 2021-04-01 | 13.1365 |  | 0.19373
Electric billing | 2021-04-02 | 2021-05-03 | 276.13 | kWh | 48.54 |  | 2021-05-03 | 9.0782 |  | 0.17579
Electric billing | 2021-05-04 | 2021-06-02 | 146.81 | kWh | 25.68 |  | 2021-06-02 | 4.8266 |  | 0.17492
Electric billing | 2021-06-03 | 2021-07-01 | 375.55 | kWh | 88.13 |  | 2021-07-01 | 12.3468 |  | 0.23467
Electric billing | 2021-07-02 | 2021-08-02 | 412.52 | kWh | 97.44 |  | 2021-08-02 | 13.5623 | 13.5623 | 0.23621
Electric billing | 2021-08-03 | 2021-09-01 | 432.75 | kWh | 104.9 |  | 2021-09-01 | 14.2274 | 14.2274 | 0.2424
Electric billing | 2021-09-02 | 2021-10-03 | 704.09 | kWh | 179.67 |  | 2021-10-03 | 23.1482 | 23.1482 | 0.25518
Electric billing | 2021-10-04 | 2021-11-01 | 465.65 | kWh | 94.54 |  | 2021-11-01 | 15.309 | 15.309 | 0.20303
Electric billing | 2021-11-02 | 2021-12-02 | 722.47 | kWh | 157.79 |  | 2021-12-02 | 23.7524 | 23.7524 | 0.2184
|  | annual | 5455.6967 |  |  |  | avg | 14.9471 | 16.6419

## gas data
Name | SARA JONES
Address | 1654 PAMELA DR, SANTA ROSA CA 95404-3139
Account Number | 4825997950
Service | 4825997010
TYPE | START DATE | END DATE | USAGE | UNITS | COST |  | cost/therm | NOTES
Natural gas billing | 2012-01-04 | 2012-02-01 | 99 | therms | 121.16 | 2012-02-01 | 1.2238
Natural gas billing | 2012-02-02 | 2012-03-02 | 79 | therms | 94.61 | 2012-03-02 | 1.1976
Natural gas billing | 2012-03-03 | 2012-04-02 | 63 | therms | 64.1 | 2012-04-02 | 1.0175
Natural gas billing | 2012-04-03 | 2012-05-02 | 40 | therms | 47.76 | 2012-05-02 | 1.194
Natural gas billing | 2012-05-03 | 2012-06-01 | 10 | therms | 10.41 | 2012-06-01 | 1.041
Natural gas billing | 2012-06-02 | 2012-07-02 | 9 | therms | 10.47 | 2012-07-02 | 1.1633
Natural gas billing | 2012-07-03 | 2012-08-01 | 9 | therms | 10.83 | 2012-08-01 | 1.2033
Natural gas billing | 2012-08-02 | 2012-08-30 | 9 | therms | 10.68 | 2012-08-30 | 1.1867
Natural gas billing | 2012-08-31 | 2012-10-01 | 10 | therms | 11.38 | 2012-10-01 | 1.138
Natural gas billing | 2012-10-02 | 2012-10-30 | 19 | therms | 21.28 | 2012-10-30 | 1.12
Natural gas billing | 2012-10-31 | 2012-11-30 | 59 | therms | 67.57 | 2012-11-30 | 1.1453
Natural gas billing | 2012-12-01 | 2013-01-02 | 103 | therms | 122.99 | 2013-01-02 | 1.1941
Natural gas billing | 2013-01-03 | 2013-01-31 | 126 | therms | 149.89 | 2013-01-31 | 1.1896
Natural gas billing | 2013-02-01 | 2013-03-04 | 105 | therms | 126.72 | 2013-03-04 | 1.2069
Natural gas billing | 2013-03-05 | 2013-04-02 | 50 | therms | 52.5 | 2013-04-02 | 1.05
Natural gas billing | 2013-04-03 | 2013-05-02 | 29 | therms | 37.08 | 2013-05-02 | 1.2786
Natural gas billing | 2013-05-03 | 2013-06-03 | 12 | therms | 14.38 | 2013-06-03 | 1.1983
Natural gas billing | 2013-06-04 | 2013-07-02 | 8 | therms | 9.16 | 2013-07-02 | 1.145
Natural gas billing | 2013-07-03 | 2013-08-01 | 9 | therms | 10.08 | 2013-08-01 | 1.12
Natural gas billing | 2013-08-02 | 2013-08-30 | 14 | therms | 15.44 | 2013-08-30 | 1.1029
Natural gas billing | 2013-08-31 | 2013-10-01 | 14 | therms | 15 | 2013-10-01 | 1.0714
Natural gas billing | 2013-10-02 | 2013-10-30 | 23 | therms | 26.67 | 2013-10-30 | 1.1596
Natural gas billing | 2013-10-31 | 2013-12-02 | 70 | therms | 81.18 | 2013-12-02 | 1.1597
Natural gas billing | 2013-12-03 | 2013-12-31 | 117 | therms | 147.24 | 2013-12-31 | 1.2585
Natural gas billing | 2014-01-01 | 2014-01-31 | 63 | therms | 75.74 | 2014-01-31 | 1.2022
Natural gas billing | 2014-02-01 | 2014-03-04 | 69 | therms | 90.22 | 2014-03-04 | 1.3075
Natural gas billing | 2014-03-05 | 2014-04-02 | 34 | therms | 45.57 | 2014-04-02 | 1.3403
Natural gas billing | 2014-04-03 | 2014-05-02 | 22 | therms | 28.71 | 2014-05-02 | 1.305
Natural gas billing | 2014-05-03 | 2014-06-03 | 13 | therms | 16.57 | 2014-06-03 | 1.2746
Natural gas billing | 2014-06-04 | 2014-07-02 | 8 | therms | 9.95 | 2014-07-02 | 1.2437
Natural gas billing | 2014-07-03 | 2014-08-04 | 9 | therms | 11.6 | 2014-08-04 | 1.2889
Natural gas billing | 2014-08-05 | 2014-09-04 | 8 | therms | 10.2 | 2014-09-04 | 1.275
Natural gas billing | 2014-09-05 | 2014-10-03 | 8 | therms | 11.15 | 2014-10-03 | 1.3938
Natural gas billing | 2014-10-04 | 2014-11-03 | 10 | therms | 13.08 | 2014-11-03 | 1.308
Natural gas billing | 2014-11-04 | 2014-12-04 | 37 | therms | 46.79 | 2014-12-04 | 1.2646
Natural gas billing | 2014-12-05 | 2015-01-03 | 55 | therms | 73.58 | 2015-01-03 | 1.3378
Natural gas billing | 2015-01-04 | 2015-02-03 | 65 | therms | 92.34 | 2015-02-03 | 1.4206
Natural gas billing | 2015-02-04 | 2015-03-05 | 46 | therms | 62.74 | 2015-03-05 | 1.3639
Natural gas billing | 2015-03-06 | 2015-04-03 | 21 | therms | 27.22 | 2015-04-03 | 1.2962
Natural gas billing | 2015-04-04 | 2015-05-05 | 20 | therms | 25.47 | 2015-05-05 | 1.2735
Natural gas billing | 2015-05-06 | 2015-06-04 | 12 | therms | 14.62 | 2015-06-04 | 1.2183
Natural gas billing | 2015-06-05 | 2015-07-03 | 6 | therms | 7.78 | 2015-07-03 | 1.2967
Natural gas billing | 2015-07-04 | 2015-08-03 | 7 | therms | 8.66 | 2015-08-03 | 1.2371
Natural gas billing | 2015-08-04 | 2015-09-02 | 8 | therms | 10.45 | 2015-09-02 | 1.3062
Natural gas billing | 2015-09-03 | 2015-10-02 | 7 | therms | 8.6 | 2015-10-02 | 1.2286
Natural gas billing | 2015-10-03 | 2015-11-02 | 8 | therms | 9.89 | 2015-11-02 | 1.2363
Natural gas billing | 2015-11-03 | 2015-12-03 | 61 | therms | 78.83 | 2015-12-03 | 1.2923
Natural gas billing | 2015-12-04 | 2016-01-04 | 89 | therms | 129.01 | 2016-01-04 | 1.4496
Natural gas billing | 2016-01-05 | 2016-02-02 | 62 | therms | 87.36 | 2016-02-02 | 1.409
Natural gas billing | 2016-02-03 | 2016-03-03 | 38 | therms | 52.23 | 2016-03-03 | 1.3745
Natural gas billing | 2016-03-04 | 2016-04-01 | 37 | therms | 41.9 | 2016-04-01 | 1.1324
Natural gas billing | 2016-04-02 | 2016-05-03 | 18 | therms | 21.75 | 2016-05-03 | 1.2083
Natural gas billing | 2016-05-04 | 2016-06-02 | 11 | therms | 13.59 | 2016-06-02 | 1.2355
Natural gas billing | 2016-06-03 | 2016-07-01 | 7 | therms | 8.27 | 2016-07-01 | 1.1814
Natural gas billing | 2016-07-02 | 2016-08-02 | 8 | therms | 10.05 | 2016-08-02 | 1.2563
Natural gas billing | 2016-08-03 | 2016-09-01 | 8 | therms | 11.56 | 2016-09-01 | 1.445
Natural gas billing | 2016-09-02 | 2016-10-03 | 8 | therms | 11.52 | 2016-10-03 | 1.44
Natural gas billing | 2016-10-04 | 2016-11-01 | 10 | therms | 15.25 | 2016-11-01 | 1.525
Natural gas billing | 2016-11-02 | 2016-12-02 | 47 | therms | 75.02 | 2016-12-02 | 1.5962
Natural gas billing | 2016-12-03 | 2017-01-03 | 88 | therms | 149.54 | 2017-01-03 | 1.6993
Natural gas billing | 2017-01-04 | 2017-02-01 | 86 | therms | 145.29 | 2017-02-01 | 1.6894
Natural gas billing | 2017-02-02 | 2017-03-03 | 71 | therms | 112.18 | 2017-03-03 | 1.58
Natural gas billing | 2017-03-04 | 2017-04-03 | 41 | therms | 60.76 | 2017-04-03 | 1.482
Natural gas billing | 2017-04-04 | 2017-05-03 | 30 | therms | 50.97 | 2017-05-03 | 1.699
Natural gas billing | 2017-05-04 | 2017-06-02 | 14 | therms | 20.24 | 2017-06-02 | 1.4457
Natural gas billing | 2017-06-03 | 2017-07-03 | 10 | therms | 14.32 | 2017-07-03 | 1.432
Natural gas billing | 2017-07-04 | 2017-08-02 | 6 | therms | 8.16 | 2017-08-02 | 1.36
Natural gas billing | 2017-08-03 | 2017-09-01 | 8 | therms | 10.96 | 2017-09-01 | 1.37
Natural gas billing | 2017-09-02 | 2017-10-03 | 8 | therms | 10.53 | 2017-10-03 | 1.3162
Natural gas billing | 2017-10-04 | 2017-11-01 | 16 | therms | 21.73 | 2017-11-01 | 1.3581
Natural gas billing | 2017-11-02 | 2017-12-01 | 56 | therms | 77.61 | 2017-12-01 | 1.3859
Natural gas billing | 2017-12-02 | 2018-01-02 | 106 | therms | 174.59 | 2018-01-02 | 1.6471
Natural gas billing | 2018-01-03 | 2018-01-31 | 75 | therms | 118.51 | 2018-01-31 | 1.5801
Natural gas billing | 2018-02-01 | 2018-03-02 | 74 | therms | 117.48 | 2018-03-02 | 1.5876
Natural gas billing | 2018-03-03 | 2018-04-02 | 64 | therms | 92.17 | 2018-04-02 | 1.4402
Natural gas billing | 2018-04-03 | 2018-05-02 | 32 | therms | 53.48 | 2018-05-02 | 1.6712
Natural gas billing | 2018-05-03 | 2018-06-01 | 12 | therms | 16 | 2018-06-01 | 1.3333
Natural gas billing | 2018-06-02 | 2018-07-02 | 11 | therms | 14.07 | 2018-07-02 | 1.2791
Natural gas billing | 2018-07-03 | 2018-08-01 | 8 | therms | 10.48 | 2018-08-01 | 1.31
Natural gas billing | 2018-08-02 | 2018-08-31 | 9 | therms | 12.35 | 2018-08-31 | 1.3722
Natural gas billing | 2018-09-01 | 2018-10-02 | 8 | therms | 10.72 | 2018-10-02 | 1.34
Natural gas billing | 2018-10-03 | 2018-11-01 | 9 | therms | 12.25 | 2018-11-01 | 1.3611
Natural gas billing | 2018-11-02 | 2018-12-03 | 60 | therms | 86.88 | 2018-12-03 | 1.448
Natural gas billing | 2018-12-04 | 2019-01-03 | 73 | therms | 118.37 | 2019-01-03 | 1.6215
Natural gas billing | 2019-01-04 | 2019-02-01 | 61 | therms | 99.28 | 2019-02-01 | 1.6275
Natural gas billing | 2019-02-02 | 2019-03-05 | 86 | therms | 152.17 | 2019-03-05 | 1.7694
Natural gas billing | 2019-03-06 | 2019-04-03 | 48 | therms | 75.63 | 2019-04-03 | 1.5756
Natural gas billing | 2019-04-04 | 2019-05-03 | 17 | therms | 24.77 | 2019-05-03 | 1.4571
Natural gas billing | 2019-05-04 | 2019-06-04 | 23 | therms | 34.05 | 2019-06-04 | 1.4804
Natural gas billing | 2019-06-05 | 2019-07-03 | 7 | therms | 9.56 | 2019-07-03 | 1.3657
Natural gas billing | 2019-07-04 | 2019-08-02 | 10 | therms | 14.36 | 2019-08-02 | 1.436
Natural gas billing | 2019-08-03 | 2019-09-04 | 11 | therms | 15.56 | 2019-09-04 | 1.4145
Natural gas billing | 2019-09-05 | 2019-10-03 | 8 | therms | 11.03 | 2019-10-03 | 1.3787
Natural gas billing | 2019-10-04 | 2019-11-01 | 16 | therms | 22.72 | 2019-11-01 | 1.42
Natural gas billing | 2019-11-02 | 2019-12-04 | 52 | therms | 76.61 | 2019-12-04 | 1.4733
Natural gas billing | 2019-12-05 | 2020-01-03 | 61 | therms | 93.43 | 2020-01-03 | 1.5316
Natural gas billing | 2020-01-04 | 2020-02-03 | 78 | therms | 130.04 | 2020-02-03 | 1.6672
Natural gas billing | 2020-02-04 | 2020-03-04 | 43 | therms | 67.04 | 2020-03-04 | 1.5591
Natural gas billing | 2020-03-05 | 2020-04-02 | 57 | therms | 98.17 | 2020-04-02 | 1.7223
Natural gas billing | 2020-04-03 | 2020-05-04 | 25 | therms | 41.91 | 2020-05-04 | 1.6764
Natural gas billing | 2020-05-05 | 2020-06-03 | 13 | therms | 19.1 | 2020-06-03 | 1.4692
Natural gas billing | 2020-06-04 | 2020-07-02 | 10 | therms | 14.82 | 2020-07-02 | 1.482
Natural gas billing | 2020-07-03 | 2020-07-31 | 9 | therms | 13.28 | 2020-07-31 | 1.4756
Natural gas billing | 2020-08-01 | 2020-09-01 | 13 | therms | 19.84 | 2020-09-01 | 1.5262
Natural gas billing | 2020-09-02 | 2020-10-01 | 12 | therms | 19.97 | 2020-10-01 | 1.6642
Natural gas billing | 2020-10-02 | 2020-11-02 | 11 | therms | 17.96 | 2020-11-02 | 1.6327
Natural gas billing | 2020-11-03 | 2020-12-03 | 66 | therms | 121.9 | 2020-12-03 | 1.847
Natural gas billing | 2020-12-04 | 2021-01-04 | 77 | therms | 137.93 | 2021-01-04 | 1.7913
Natural gas billing | 2021-01-05 | 2021-02-02 | 72 | therms | 130.08 | 2021-02-02 | 1.8067
Natural gas billing | 2021-02-03 | 2021-03-04 | 61 | therms | 113.03 | 2021-03-04 | 1.853
Natural gas billing | 2021-03-05 | 2021-04-02 | 51 | therms | 93.82 | 2021-04-02 | 1.8396
Natural gas billing | 2021-04-03 | 2021-05-04 | 24 | therms | 41.69 | 2021-05-04 | 1.7371
Natural gas billing | 2021-05-05 | 2021-06-03 | 7 | therms | 10.86 | 2021-06-03 | 1.5514
Natural gas billing | 2021-06-04 | 2021-07-02 | 9 | therms | 14.01 | 2021-07-02 | 1.5567
Natural gas billing | 2021-07-03 | 2021-08-03 | 9 | therms | 13.8 | 2021-08-03 | 1.5333
Natural gas billing | 2021-08-04 | 2021-09-02 | 8 | therms | 12.66 | 2021-09-02 | 1.5825
Natural gas billing | 2021-09-03 | 2021-10-04 | 11 | therms | 20.1 | 2021-10-04 | 1.8273
Natural gas billing | 2021-10-05 | 2021-11-02 | 17 | therms | 36.25 | 2021-11-02 | 2.1324
Natural gas billing | 2021-11-03 | 2021-12-03 | 45 | therms | 98.29 | 2021-12-03 | 2.1842
4129
419.8983

## scenario chart
Scenario B: remove valley oak, leave old panels on SW roof, add 25 new panels on SE roof
Phase 1:
1.8 kW PV system installed 2003
Phase 2: assumes 2 Sol-Ark 8ks
Inputs
Number of existing 180W panels | 12 | we have 12 ca. 2003
Number of new 400W panels | 25 | assuming no thermal solar
Number of existing 4.8 kWh batteries | 5 | we have 5 ca. 2008
Number of new 3.6 kWh batteries | 0
Outputs
Annual load, kWh | 10598.9483
PV power, kW | 10.561
Battery pack energy nameplate, kWh | 24
Battery pack energy usable, kWh | 15.36
Energy from batteries | 52.93%
Energy from grid | 47.07%
Net meter | 166%
Part cost | 33014 | does not include BMS costs
Extra cost per day | 3.5282
Phase 3:
Add 4 3.6 kWh batteries totaling 14.4 kWh for up to $10K to increase battery supply from 53% to 69%;
using either more used EV batteries, new LFP or new or refurbished NiFe; would cost up to $1.40/day.

## scenario data
Scenarios | [73 empty] | Assumptions:
1. All power is used when no solar is being generated
|  | loads | [32 empty] | system configuration | [38 empty] | 2. batteries are only charged by solar, never the grid
|  | added heat | [24 empty] | current electrical |  |  | new electrical |  |  |  |  | PV interface |  |  |  | existing 180W PV panels |  |  |  | new 400W PV panels |  |  |  | total PV panels | [6 empty] | batteries | [26 empty] | add calc to automatically increment Sol-Arks every 36 panels
|  | therms currently used | [11 empty] | kWh equivalent |  | efficiency |  | heat pump COP | kWh load expected |  |  | PG&E | [8 empty] | daily kWh | [46 empty] | monthly totals |  |  | part costs, not including installation | [6 empty] | warranties, years |  |  |  | worst case replacement cost per year
month | days | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | avg | hot water | furnace | hot water | furnace | furnace | water heater |  | hot water | furnace | total | TOU non-peak rate | heat pump added to electric bill | average PG&E cost per therm | average gas bill | bill delta | all other electrical loads, average kWh | current electricity bills | current energy bills | new expected total kWh used | furnace | hot water | everything else | total | PV to battery charge controller efficiency | battery to AC load inverter efficiency | continuous discharge power, kW | continuous charge power, kW | PV nameplate rating, kW | panel derating | actual panel power | number of panels | PV nameplate rating, kW | panel derating | actual panel power | number of panels | net max power, kW | size compared to current 1.8 kW system | GHI, full peak sun hrs per month | per day | energy generated per month, kWh | per day | percentage of loads if no battery and net metered | number of existing 48V 4.8 kWh batteries | number of new 48V 3.6 kWh batteries | nameplate capacity, kWh | nameplate capacity, Ah | lowest continuous discharge current, C | lowest continuous discharge current, amps | lowest continuous discharge power, kW | minimum discharge margin | lowest continuous charge current, C | lowest continuous charge current, amps | lowest continuous charge power, kW | minimum charge margin | EOL battery capacity | min discharge SOC at EOL | usable capacity at EOL, kWh | does battery capacity cover loads? | max daily battery discharge (largest of previous day's load or usable capacity), kWh | round trip charge/ discharge efficiency | energy required to charge batteries, kWh | enough PV to charge batteries? | daily battery discharge (up to max discharge if enough PV generation), kWh | daily PV energy used to charge batteries, kWh | excess daily PV energy generated after charging batteries to be net metered, kWh | remaining daily load not covered by batteries to be supplied by grid, kWh | battery discharge, kWh | grid energy needed, kWh | excess PV energy generated after charging batteries, kWh | 2 Sol-Ark 8ks | batteries each | subtotal | panels, each | subtotal | heat pump ($4689), controller ($395), air handler ($2499), water tank ($2299) and 3-way switch ($182) | parts only subtotal | Sol-Ark | batteries | panels | heat pump | Sol-Ark | batteries | panels | heat pump | total | reduction in energy bills | net change in ongoing energy costs | cost per day | number of Venti Lattes
Jan | 31 | 99 | 126 | 63 | 65 | 62 | 86 | 75 | 61 | 78 | 79.4444 | 9 | 70.4444 | 263.7 | 2064.0222 | 0.95 | 0.95 | 2.6 | 96.3519 | 754.162 | 850.5139 | 0.25 | 212.6285 | 2 | 158.8889 |  | 658.68 |  |  | 1509.1939 | 24.3278 | 3.1081 | 21.2477 | 48.6837 | 0.95 | 0.965 | 9 | 8.88 | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 58.9 | 1.9 | 622.0405 | 20.0658 | 41.22% | 5 | 0 | 24 | 500 | 0.5 | 250 | 12 | 33.33% | 0.5 | 250 | 12 | 35.14% | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 3.8974 | 33.3237 | 476.16 | 1033.0339 | 120.8195 | 12000 | 2450 | 0 | 438 | 10950 | 10064 | 33014 | 10 | 10 | 25 | 5 | 1200 | 0 | 438 | 2012.8 | 3650.8 | -2363.0007 | 1287.7993 | 3.5282 | 0.88205
Feb | 28.25 | 79 | 105 | 69 | 46 | 38 | 71 | 74 | 86 | 43 | 67.8889 | 9 | 58.8889 | 263.7 | 1725.4444 | 0.95 | 0.95 | 2.6 | 96.3519 | 630.4509 | 726.8028 | 0.25 | 181.7007 | 2 | 135.7778 |  | 494.2033 |  |  | 1221.0061 | 22.3168 | 3.4107 | 17.4939 | 43.2215 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 69.1 | 2.446 | 729.7623 | 25.8323 | 59.77% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 9.6639 | 27.8615 | 433.92 | 787.0861 | 273.0044
Mar | 31 | 63 | 50 | 34 | 21 | 37 | 41 | 64 | 48 | 57 | 46.1111 | 9 | 37.1111 | 263.7 | 1087.3556 | 0.95 | 0.95 | 2.6 | 96.3519 | 397.303 | 493.6549 | 0.25 | 123.4137 | 2 | 92.2222 |  | 515.04 |  |  | 1008.6949 | 12.8162 | 3.1081 | 16.6142 | 32.5385 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 103.2 | 3.329 | 1089.8911 | 35.1578 | 108% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 18.9894 | 17.1785 | 476.16 | 532.5349 | 588.67
Apr | 30 | 40 | 29 | 22 | 20 | 18 | 30 | 32 | 17 | 25 | 25.8889 | 9 | 16.8889 | 263.7 | 494.8444 | 0.95 | 0.95 | 2.6 | 96.3519 | 180.8085 | 277.1605 | 0.25 | 69.2901 | 2 | 51.7778 |  | 468.7333 |  |  | 745.8938 | 6.027 | 3.2117 | 15.6244 | 24.8631 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 178.7 | 5.9567 | 1887.2436 | 62.9081 | 253% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 46.7397 | 9.5031 | 460.8 | 285.0938 | 1402.1909
May | 31 | 10 | 12 | 13 | 12 | 11 | 14 | 12 | 23 | 13 | 13.3333 | 9 | 4.3333 | 263.7 | 126.9667 | 0.95 | 0.95 | 2.6 | 96.3519 | 46.3917 | 142.7436 | 0.25 | 35.6859 | 2 | 26.6667 |  | 461.16 |  |  | 603.9036 | 1.4965 | 3.1081 | 14.8761 | 19.4808 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 227.4 | 7.3355 | 2401.5623 | 77.4698 | 397.7% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 61.3013 | 4.1208 | 476.16 | 127.7436 | 1900.3413
Jun | 30 | 9 | 8 | 8 | 6 | 7 | 10 | 11 | 7 | 10 | 8.4444 | 9 | -0.55556 | 263.7 | -16.2778 | 0.95 | 0.95 | 2.6 | 96.3519 | -5.9476 | 90.4043 | 0.25 | 22.6011 | 2 | 16.8889 |  | 431.2433 |  |  | 521.6476 | -0.19825 | 3.2117 | 14.3748 | 17.3883 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 229.6 | 7.6533 | 2424.7964 | 80.8265 | 464.8% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 64.6581 | 2.0283 | 460.8 | 60.8476 | 1939.7438
Jul | 31 | 9 | 9 | 9 | 7 | 8 | 6 | 8 | 10 | 9 | 8.3333 | 9 | -0.66667 | 263.7 | -19.5333 | 0.95 | 0.95 | 2.6 | 96.3519 | -7.1372 | 89.2147 | 0.25 | 22.3037 | 2 | 16.6667 |  | 386.7475 |  |  | 475.9622 | -0.23023 | 3.1081 | 12.4757 | 15.3536 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 228.8 | 7.3806 | 2416.3476 | 77.9467 | 507.7% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 1 | 15.3536 | 0.95 | 16.1617 | 1 | 15.3536 | 16.1617 | 61.785 | 0 | 475.9622 | 0 | 1915.3348
Aug | 31 | 9 | 14 | 8 | 8 | 8 | 8 | 9 | 11 | 13 | 9.7778 | 9 | 0.77778 | 263.7 | 22.7889 | 0.95 | 0.95 | 2.6 | 96.3519 | 8.3267 | 104.6786 | 0.25 | 26.1697 | 2 | 19.5556 |  | 439.7175 |  |  | 544.3961 | 0.2686 | 3.1081 | 14.1844 | 17.5612 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 204.1 | 6.5839 | 2155.4919 | 69.532 | 395.9% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 53.3636 | 2.2012 | 476.16 | 68.2361 | 1654.2709
Sep | 30 | 10 | 14 | 8 | 7 | 8 | 8 | 8 | 8 | 12 | 9.2222 | 9 | 0.22222 | 263.7 | 6.5111 | 0.95 | 0.95 | 2.6 | 96.3519 | 2.3791 | 98.731 | 0.25 | 24.6827 | 2 | 18.4444 |  | 511.335 |  |  | 610.066 | 0.079302 | 3.2117 | 17.0445 | 20.3355 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 163.2 | 5.44 | 1723.5487 | 57.4516 | 282.5% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 41.2832 | 4.9755 | 460.8 | 149.266 | 1238.496
Oct | 31 | 19 | 23 | 10 | 8 | 10 | 16 | 9 | 16 | 11 | 13.5556 | 9 | 4.5556 | 263.7 | 133.4778 | 0.95 | 0.95 | 2.6 | 96.3519 | 48.7707 | 145.1226 | 0.25 | 36.2807 | 2 | 27.1111 |  | 417.82 |  |  | 562.9426 | 1.5732 | 3.1081 | 13.4781 | 18.1594 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 110.8 | 3.5742 | 1170.1544 | 37.7469 | 207.9% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 21.5785 | 2.7994 | 476.16 | 86.7826 | 668.9333
Nov | 30 | 59 | 70 | 37 | 61 | 47 | 56 | 60 | 52 | 66 | 56.4444 | 9 | 47.4444 | 263.7 | 1390.1222 | 0.95 | 0.95 | 2.6 | 96.3519 | 507.9293 | 604.2812 | 0.25 | 151.0703 | 2 | 112.8889 |  | 645.3367 |  |  | 1249.6179 | 16.931 | 3.2117 | 21.5112 | 41.6539 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 71.8 | 2.3933 | 758.2769 | 25.2759 | 60.68% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 9.1075 | 26.2939 | 460.8 | 788.8179 | 273.2243
Dec | 31 | 103 | 117 | 55 | 89 | 88 | 106 | 73 | 61 | 77 | 85.4444 | 9 | 76.4444 | 263.7 | 2239.8222 | 0.95 | 0.95 | 2.6 | 96.3519 | 818.3966 | 914.7485 | 0.25 | 228.6871 | 2 | 170.8889 |  | 630.875 |  |  | 1545.6235 | 26.3999 | 3.1081 | 20.3508 | 49.8588 | 0.95 | 0.965 |  |  | 0.18 | 0.9 | 0.162 | 12 | 0.4 | 0.9 | 0.36 | 25 | 10.561 | 586.7% | 48.8 | 1.5742 | 515.3748 | 16.625 | 33.34% | 5 | 0 | 24 | [9 empty] | 80% | 20% | 15.36 | 0 | 15.36 | 0.95 | 16.1684 | 1 | 15.36 | 16.1684 | 0.45657 | 34.4988 | 476.16 | 1069.4635 | 14.1538
[20 empty] | total | 4538.0566 |  | 1134.5142 |  | 847.7778 | 286.7364 | 6060.8917 | 1515.2229 | 2363.0007 | 10598.9483 | [20 empty] | 17894.4906 | [22 empty] | 184.3136 |  | 392.8241 | 164.7847 | 5610.0422 | 4988.906 | 11989.183
[51 empty] | 168.8% | if no battery | [25 empty] | 52.93% | 47.07% | 113.1%
[79 empty] | 100% | 66.05%
[79 empty] | of energy needs | net meter

## sizing data
Sizing for one night off grid
panels | number of batteries | number of Sol-Ark 12ks | from batts | energy from batts, % | net meter ratio | net meter ratio x10 | cost, $ | cost, k$ | extra cost/day, $
1 | 1 | 1 | 5% | 5 | 5% | 50% | 14238 | 14.238 | 4.71
2 | 3 | 1 | 11% | 11 | 11% | 110% | 19576 | 19.576 | 5.76
3 | 4 | 1 | 16% | 16 | 16% | 160% | 22464 | 22.464 | 6.13
4 | 4 | 1 | 21% | 21 | 21% | 210% | 22902 | 22.902 | 5.84
5 | 5 | 1 | 26% | 26 | 26% | 260% | 25790 | 25.79 | 6.21
6 | 6 | 1 | 32% | 32 | 32% | 320% | 28678 | 28.678 | 6.59
7 | 7 | 1 | 36% | 36 | 37% | 370% | 31566 | 31.566 | 6.97
8 | 8 | 1 | 40% | 40 | 42% | 420% | 34454 | 34.454 | 7.34
9 | 9 | 1 | 43% | 43 | 48% | 480% | 37342 | 37.342 | 7.71
10 | 8 | 1 | 45% | 45 | 53% | 530% | 35330 | 35.33 | 6.74
11 | 9 | 1 | 48% | 48 | 59% | 590% | 38218 | 38.218 | 7.1
12 | 10 | 1 | 50% | 50 | 64% | 640% | 41106 | 41.106 | 7.47
13 | 9 | 1 | 51% | 51 | 70% | 700% | 39094 | 39.094 | 6.49
14 | 10 | 1 | 53% | 53 | 76% | 760% | 41982 | 41.982 | 6.86
15 | 11 | 1 | 55% | 55 | 80% | 800% | 44870 | 44.87 | 7.23
17 | 9 | 1 | 56% | 56 | 91% | 910% | 40846 | 40.846 | 5.26
18 | 10 | 1 | 58% | 58 | 97% | 970% | 43734 | 43.734 | 5.63
19 | 10 | 1 | 59% | 59 | 102% | 1020% | 44172 | 44.172 | 5.48
20 | 10 | 1 | 60% | 60 | 108% | 1080% | 44610 | 44.61 | 5.53
21 | 10 | 1 | 61% | 61 | 113% | 1130% | 45048 | 45.048 | 5.58
22 | 10 | 1 | 62% | 62 | 119% | 1190% | 45486 | 45.486 | 5.62
23 | 11 | 1 | 64% | 64 | 124% | 1240% | 48374 | 48.374 | 6.34
24 | 12 | 1 | 65% | 65 | 130% | 1300% | 51262 | 51.262 | 7.06
25 | 12 | 1 | 66% | 66 | 135% | 1350% | 51700 | 51.7 | 7.11
26 | 12 | 1 | 67% | 67 | 141% | 1410% | 52138 | 52.138 | 7.16
27 | 13 | 1 | 68% | 68 | 146% | 1460% | 55026 | 55.026 | 7.88
28 | 13 | 1 | 69% | 69 | 152% | 1520% | 55464 | 55.464 | 7.92
29 | 13 | 1 | 70% | 70 | 157% | 1570% | 55902 | 55.902 | 7.97
30 | 14 | 1 | 71% | 71 | 163% | 1630% | 58790 | 58.79 | 8.69
31 | 14 | 1 | 72% | 72 | 168% | 1680% | 59228 | 59.228 | 8.74
32 | 14 | 1 | 73% | 73 | 174% | 1740% | 59666 | 59.666 | 8.79
34 | 14 | 1 | 74% | 74 | 185% | 1850% | 60542 | 60.542 | 8.88
35 | 14 | 1 | 75% | 75 | 190% | 1900% | 60980 | 60.98 | 8.93
36 | 14 | 1 | 76% | 76 | 196% | 1960% | 61418 | 61.418 | 8.98
37 | 15 | 2 | 77% | 77 | 201% | 2010% | 71206 | 71.206 | 11.59
39 | 15 | 2 | 78% | 78 | 212% | 2120% | 72082 | 72.082 | 11.69
40 | 15 | 2 | 79% | 79 | 218% | 2180% | 72520 | 72.52 | 11.73
41 | 15 | 2 | 80% | 80 | 224% | 2240% | 72958 | 72.958 | 11.78
43 | 15 | 2 | 81% | 81 | 235% | 2350% | 73834 | 73.834 | 11.88
44 | 15 | 2 | 82% | 82 | 240% | 2400% | 74272 | 74.272 | 11.93
45 | 16 | 2 | 83% | 83 | 246% | 2460% | 77160 | 77.16 | 12.64
47 | 16 | 2 | 84% | 84 | 257% | 2570% | 78036 | 78.036 | 12.74
48 | 17 | 2 | 85% | 85 | 262% | 2620% | 80924 | 80.924 | 13.46
49 | 17 | 2 | 86% | 86 | 268% | 2680% | 81362 | 81.362 | 13.51
50 | 18 | 2 | 87% | 87 | 273% | 2730% | 84250 | 84.25 | 14.23
52 | 18 | 2 | 88% | 88 | 284% | 2840% | 85126 | 85.126 | 14.32
53 | 19 | 2 | 89% | 89 | 290% | 2900% | 88014 | 88.014 | 15.04
55 | 19 | 2 | 90% | 90 | 300% | 3000% | 88890 | 88.89 | 15.14
58 | 19 | 2 | 91% | 91 | 317% | 3170% | 90204 | 90.204 | 15.28
61 | 19 | 2 | 92% | 92 | 334% | 3340% | 91518 | 91.518 | 15.43
64 | 19 | 2 | 93% | 93 | 351% | 3510% | 92832 | 92.832 | 15.57
67 | 19 | 2 | 94% | 94 | 367% | 3670% | 94146 | 94.146 | 15.71
70 | 19 | 2 | 95% | 95 | 384% | 3840% | 95460 | 95.46 | 15.86
73 | 20 | 3 | 96% | 96 | 400% | 4000% | 106124 | 106.124 | 18.56
78 | 20 | 3 | 97% | 97 | 428% | 4280% | 108314 | 108.314 | 18.8
85 | 20 | 3 | 98% | 98 | 467% | 4670% | 111380 | 111.38 | 19.14
87 | 21 | 3 | 99% | 99 | 478% | 4780% | 114706 | 114.706 | 19.91
93 | 22 | 3 | 100% | 100 | 511% | 5110% | 119784 | 119.784 | 20.87